{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":51,"n_cols":6,"rows_kept":51,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","FVXG-K"]
[]
[]
[]
[]
["","","","","","FVXG35K2V1B"]
["Power input","Cooling","","Nom.","kW","0.021 (1) (2) (3), 0.021 (1) (2) (3), 0.021 (1) (2) (3)"]
["","Heating","","Nom.","kW","0.024 (1) (2) (3), 0.024 (1) (2) (3), 0.024 (1) (2) (3)"]
["Casing","Colour","","","","Fresh white (6.5Y 9.5/0.5)"]
["Dimensions","Unit","","Height","mm","600"]
["","","","Width","mm","950"]
["","","","Depth","mm","215"]
["Weight","Unit","","","kg","22.0"]
["Fan","Air flow rate","Cooling","High","m³/min","9.1"]
["","","","Medium","m³/min","7.2"]
["","","","Low","m³/min","5.3"]
["","","","Silent operation","m³/min","4.5"]
["","","Heating","High","m³/min","10.2"]
["","","","Medium","m³/min","8.0"]
["","","","Low","m³/min","5.8"]
["","","","Silent operation","m³/min","5.0"]
["Sound power level","Cooling","","","dBA","55"]
["","Heating","","","dBA","56"]
["Sound pressure level","Cooling","","High","dBA","39"]
["","","","Medium","dBA","33"]
["","","","Low","dBA","27"]
["","","","Silent operation","dBA","24"]
["","Heating","","High","dBA","40"]
["","","","Medium","dBA","33"]
["","","","Low","dBA","27"]
["","","","Silent operation","dBA","23"]
["Piping connections","Liquid","","OD","mm","6.35"]
["","Gas","","OD","mm","9.50"]
["","Drain","","","","18"]
["Control systems","Infrared remote control","","","","ARC466A2"]
["Standard Accessories","Installation manual","","","","1"]
["","Wireless remote control","","","","1"]
["","Installation plate","","","","1"]
["","Thermal insulation (thermal insulation tube)","","","","1"]
["","AAA dry-cell batteries","","","","2"]
["","Operation manual","","","","1"]
["","Titanium apatite deodorizing filter","","","","2"]
["","Drain hose","","","","1"]
["","Remote control holder","","","","1"]
["Power supply","Name","","","","V1"]
["","Phase","","","","1~"]
["","Power supply-=-Frequency","","Frequency","","50"]
["","Power supply-=-Voltage","","Voltage","","220-240"]
["Notes","","","","","(1) - 220V"]
["","","","","","(2) - 230V"]
["","","","","","(3) - 240V"]